## Slide 1
JalGuard - Smart Field Water Surveillance
SMART INDIA HACKATHON 2026
  Problem Statement ID – SIH26252
  Problem Statement Title- Development of Field Test Kits for Detection and Monitoring of Emerging Contaminants (PFAS, Microplastics, etc.) in Drinking Water Sources and Water Supply Systems
  Theme- Clean & Green Technology
  PS Category- Hardware
  Team ID- 196353
  Team Name – AQUARENEW

## Slide 2
Development of Field Test Kits for Detection and Monitoring of Emerging Contaminants (PFAS, Microplastics, etc.) in Drinking Water Sources and Water Supply Systems
INNOVEXA 007
⚠ Problem ⚠
Unique Edge
Proposed Solution
DETECT → LOCATE → VERIFY → PREDICT → ACT
1. Hard to Detect PFAS and microplastics are difficult to screen quickly in the field.
2. Lab Dependency Testing often requires specialized laboratories and costly instruments.
3. Limited Field Monitoring Remote water sources cannot be checked frequently or easily.
4. No Connected Visibility Test results are often not linked with location, history, and trends for timely follow-up.
❗ PROBLEM
Expensive + Lab Dependent + Infrequent + Poor Rural Coverage
💡 IDEA
Portable Field Screening + Smartphone AI
🧠 INNOVATION
GPS + Offline App + GIS + AI Trends + Risk Alerts
🚀 UNIQUE EDGE
Repeated Field Screening → Source-Level Digital Surveillance
Beyond a Testing Kit
Continuous surveillance of many sources, not just one sample.
Dual-Mode Screening
PFAS (Target-Specific Screening)) and Microplastics (Filtration + Staining + Optical Imaging + AI Analysis)
Smartphone as Field Reader
Test Cartridge → Smartphone Camera/Reader → Signal Analysis
Filter → Staining/Illumination → Camera → AI-assisted analysis
Dual-Mode Screening
Target-specific PFAS screening + Microplastics (Filtration + Staining + Optical Imaging + AI Analysis)
Detect + Locate
Every test gets Sample ID + GPS + Timestamp
Offline-First Rural Design
Test → Save locally → Sync when connectivity returns
Screening + Confirmation Model
Risk-Based Surveillance AI-assisted trend analysis identifies rising-risk sources and prioritizes follow-up testing.
Field screening → Risk assessment → Follow-up / Laboratory confirmation
Rural Water Source & Field Testing
Laboratory-Based Water Testing

## Slide 3
Cleaner Water
Healthier Communities
1
System Overview
JalGuard is a portable, multi-parameter water quality monitoring device that detects:
Microplastics
(visual + AI/ML)
PFOA & PFOS
(proposed sensing module)
Screening Result
Screening Result
(with estimated range)
Portable
Real-time
Analysis
Cloud Sync
(Optional)
User Friendly
Interface
2
Inside the Device (Hardware View)
1
Water Inlet
(Sample Collection)
2
Filter Chamber
(with 0.45 μm filter)
3
Optical Chamber
(LED Illumination)
4
Camera Module
(High Resolution)
5
ESP32 Controller
(Data Processing &
Communication)
6
Proposed PFAS Sensor Module
(PFOA + PFOS)
(Target-specific sensing
cartridge + signal reader)
7
Battery & Power
Management
(Rechargeable Li-ion)
3
Detection Modules
A. Microplastic Detection Module
Filtered
Sample
(0.45 μm)
Camera
(High Resolution)
LED
Illumination
(White / Optional UV)
AI/ML
Analysis
Output: Microplastic count, size (approx.), and type (candidate)
B. PFAS Detection Module (Proposed)
PFAS Cartridge
(PFOA + PFOS)
(Target-specific)
Signal Reader
(Electrochemical /
(Optical / MIP-based)
Data Processing
& Calibration
Result
(Estimated Range /
Screening)
Output: PFOA & PFOS – Present / Not Present + Estimated Range (Low/Medium/High)
4
Data Flow
Water Sample
Collection
Filtration
(0.45 μm)
Imaging
& Sensing
Signal
Processing
Analysis
& Validation
Result
Display / App
5
Software & AI Pipeline
Image Processing
(OpenCV)
Noise reduction
Feature extraction
Particle detection
AI/ML Model
Classification
Type / Non-type
Confidence score
Data Processing
Calibration
Risk assessment
Result generation
Mobile / Web App
Live results
History & reports
Cloud sync (optional)
6
Key Components & Technologies
Hardware
ESP32 Development Board
Camera Module
LED Light (White)
Filter Holder + 0.45 μm Filter
Battery & Power Circuit
Software & AI
Python (Programming)
OpenCV (Image Processing)
AI / ML (Classification)
Data Analytics
Mobile / Web App
PFAS Module (Proposed)
Target-specific Cartridge
(PFOA + PFOS)
Signal Reader
(Electrochemical / Optical / MIP-based)
Data Processing
(Calibration & Validation)
8
Important Notes
Microplastic detection: Feasible with current components (camera + image processing).
PFAS detection (PFOA & PFOS): Proposed module. Requires existing research-based sensing approach and proper validation.
Concentration values: Approximate and depends on calibration and testing (range: ng/L).
Final accuracy depends on sensor selection, calibration, real-water testing and interference handling.
TECHNICAL APPROACH

## Slide 4
🟢 Technical Feasibility
Can we build it?
Hardware
Portable enclosure · Camera + controlled illumination · Controller + battery · Sample chamber
Microplastic Screening
Filtration · Controlled imaging · Image-based particle analysis
PFAS Screening
Target-specific cartridge · Recognition chemistry · Measurable signal · Laboratory comparison for validation
Software
QR/source ID · Offline data capture · Risk dashboard · Cloud synchronization
Technically feasible with staged validation
🟢 Product Viability
Can it become a practical solution?
💰 Affordable
Reusable core + replaceable sensing consumables
📦 Scalable
One source → Village → District → State
🔧 Adaptable
PFAS → Microplastics → Future modules
👤 Easy to Use
QR → Guided Test → Result → Action
The reusable device is designed for repeated field use, while sensing cartridges/cassettes are replaced per testing workflow.
🔴 Risks & Mitigation
Challenge
→ Our Approach
PFAS sensitivity / selectivity
→
Start with selected targets + laboratory validation
PFAS contamination
→
Controlled sampling + blanks + QC
Microplastic false positives
→
Controlled imaging + QC + validation
Different water matrices
→
Matrix-specific validation
Field conditions
→
Rugged enclosure + guided workflow
Cartridge stability
→
Controlled storage + shelf-life testing
Scientific acceptance
→
Compare against reference laboratory methods
Development Roadmap
V0.1
Core Hardware
→
V0.2
Microplastic Module
→
V0.3
PFAS Module
→
V0.4
Lab Validation
→
V1.0
Field Pilot
→
Next
Scale-up
Build → Validate → Pilot → Scale
JalGuard is positioned as a field-screening and surveillance platform, not a replacement for accredited laboratory confirmation.
FEASIBILITY AND VIABILITY

## Slide 5
IMPACT & BENEFITS
Borewell
Hand pump
Community water point
Safe / routine
Monitor / retest
Priority / lab confirmation
Screening data flows up
Village
Block
District
State
Every screening event, from source to state
Safer Water Monitoring
Earlier identification of potentially contaminated sources.
Faster Risk Identification
Reduce dependence on waiting for every sample to reach a central laboratory before prioritization.
Source-Level Traceability
Every screening event linked to source identity, location and history.
Data-Driven Governance
Authorities can identify trends and prioritize follow-up.
Benefits
SOCIAL
Better rural water surveillance
Faster identification of potentially risky sources
Supports field workers
ECONOMIC
Reduces unnecessary laboratory testing through prioritization
Reusable core device
Modular consumables
ENVIRONMENTAL
Supports emerging-contaminant monitoring
Enables source-level trend tracking
Helps identify priority contamination hotspots
Screen in the field
Prioritize intelligently
Confirm in the lab
Act at the source
Notes: Impact slide: JalGuard moves water-quality work from testing water to protecting water sources. Field screening flags sources as safe/routine, monitor/retest, or priority/lab confirmation; data flows Village to Block to District to State.

## Slide 6
Research & References
Research Paper and References
Technical Reference
Microplastic Detection using AI
P. Thota, K. Challapalli, H. Garikapati, V. M. S. Adusumilli, S. Anamalamudi and M. K. Enduri, "Microplastic Detection in Drinking Water: A Comparative Analysis of CNN-SVM and CNN-RF Hybrid Models," 2024 OITS International Conference on Information Technology (OCIT), Vijayawada, India, 2024, pp. 24-29, IEE Excess
Machine Learning for PFAS
N. Andraju, G. Curtzwiler, Y. Ji, E. Kozliak and P. Ranganathan, "Machine Learning Models for PFAS Tracking, Detection and Remediation: A Review," 2023 IEEE International Conference on Electro Information Technology (eIT), Romeoville, IL, USA, 2023, pp. 137-142, IEE Excess
IoT + Cloud Water Quality Monitoring
R. Raman and A. Deshpande, "Real-time Monitoring System for Safe Drinking Water Safety Using IoT and Cloud Computing," 2024 International Conference on Advances in Data Engineering and Intelligent Computing Systems (ADICS), Chennai, India, 2024, pp. 1-6, IEE Excess
Portable IoT Water Testing
P. K. Manda, K. Katarapu, V. Kurakula, S. P and S. R. Ammana, "Compact IoT-Enabled Water Testing Kit for E.coli and Coliform Contamination," 2025 8th International Conference on Trends in Electronics and Informatics (ICOEI), Tirunelveli, India, 2025, pp. 565-570, IEE Excess